We allow photographs to confirm code issues were addressed in the process of a reroof. This serves as a means by which the contractor will not be delayed while waiting for on-site inspection. Please call 251-575-5511 or email inspector@monroevilleal.gov at least 24 hrs in advance, to schedule an on-site, in progress inspection. During the In-Progress Roof Inspection, the inspector will,

1. Complete a roof top inspection
2. Verify site conditions
3. Verify code compliant materials and methods are being used
4. Inspect photos of work completed before inspector arrived


The average reroof can be documented for location and code compliance with 10-15 well thought out photographs
They should include photos of:
1. Fastener spacing(showing permit in photo)
2. Sheathing condition( taken from ground or best possible area. Photos showing entire roof)
3. Underlayment, valleys, eave metal, ridge vent cut out
4. Flashing(showing permit in photo)
5. Final
BE SURE PHOTOS, WHEN VIEWED IN THEIR ENTIRETY, SHOW ENTIRE SCOPE OF WORK BEING COMPLETED AND THAT WORK IS CODE COMPLIANT.

Email photos once completed. Be sure photos do not show safety violations.

